“TECHNICAL SPECIFICATION FOR EVALUATION, SUPPLY AND TESTING”

S.T.V.F.C. 0000300

Additional technical provisions for product procurement

| Compiled by | SERTEC-NORM | GIARAMIDA |
| --- | --- | --- |
| Checked by | SERTEC-NORM | VARESE |
| Checked by | HSEQ | BOLZONI |
| Checked by | PROMA-MATMA | SCOTTO |
| Checked by | SERTEC-LAB | SALATI |
| Checked by | PROMA/CMMAT | FASSINO |
| Approved by | SERTEC | COMAZZI |

SUMMARY

1	PRELIMINARY INFORMATION	3

1.1	Cancels and replaces	3

1.2	Reason for issue	3

1.3	Company departments mentioned in the document	3

2	PURPOSE AND FIELD OF APPLICATION	3

2.1	Purpose	3

2.2	Field of application	3

3	SPECIFICATIONS	3

3.1	Annex	4

3.1.1	Material Tables	4

3.1.2	Specifications of Tools and Methods and/or Plants and Methods	4

3.1.3	Technical Notes	4

4	GENERAL REGULATORY REQUIREMENTS	4

4.1	Technical assessment	4

5	PRODUCT CHARACTERISTICS AND REFERENCE STANDARDS	5

5.1	Product design	5

5.2	Technical characteristics	5

5.3	Machining tolerances for mechanical products	5

6	TYPE TEST	5

7	MARKING	6

8	DOCUMENTATION REQUIRED FROM THE SUPPLIER	6

8.1	Supplier	6

8.2	Documents to be submitted	6

8.2.1	Materials - Complementary Documentation	7

8.2.2	Equipment / Instrumentation - Complementary Documentation	8

8.3	Test Documentation	8

8.4	Supply Documentation	8

9	TESTS AND INSPECTIONS	8

9.1	Right of the client	9

10	CONDITIONS OF SUPPLY	9

10.1	Packaging	9

10.1.1	Loading Unit Dimensions	9

10.2	Material identification	10

11	REFERENCE STANDARDS	10

12	APPENDICES	11

APPENDIX 1	12

APPENDIX 2	12

APPENDIX 3	14

# PRELIMINARY INFORMATION

## Cancels and replaces

This specification cancels and replaces technical specifications 0000300, edition 1, dated 07.05.2012 - "Additional technical provisions for approval for company use of products”.

## Reason for issue

The update of the Technical Specification 0000300 was required as a result of:

- issuing of new national and European standards (CEI and EN);

- updating of company departments;

- new legislative context.

## Company departments mentioned in the document

- SERTEC-NORM = Standard

- PROMA-CMMAT = Category Manager Materials

# PURPOSE AND FIELD OF APPLICATION

## Purpose

- This Technical Specification for Evaluation, Supply and Testing (S.T.V.F.C.) contains the "General Technical Provisions" valid for all standardised products (materials, equipment and instruments used for the construction or operation of gas distribution networks) for which there is no specific S.T.V.F.C.

## Field of application

It applies whenever the opportunity arises to procure standardised materials, equipment or instrumentation described in the appendix (appendices) to this Technical Specification produced by a potential new Supplier () or an existing Supplier.

# SPECIFICATIONS

- These technical specifications must be understood as an integral part of the “ASSESSMENT AND QUALIFICATION SYSTEM FOR SUPPLIERS OF ITALGAS”.

- It is the Manufacturer’s responsibility to ensure that the products supplied fully comply with the provisions of this Technical Specification and the applicable standards.

- It is the Manufacturer’s responsibility, during the product design, production and inspection process, to verify that there are no construction faults in the finished products (e.g. sharp edges, incorrect directions for use and maintenance, etc.), which may jeopardise the health and safety of the Client's workers in relation to the provisions of Legislative Decree no. 81/08, as amended.

- For all technical and operational aspects that conflict with or are not mentioned in this Technical Specification or its appendices, but nevertheless pertain to the design, execution, maintenance and use of the products, it is the Manufacturer’s responsibility to refer to the regulations in force.

## Annex

The annexes to this Technical Specification form an integral part thereof. They are issued exclusively by Italgas Reti and selected as the occasion arises according to company needs.

Such annexes may be in the form of:

### Material Tables

These are part of the Company's quality system and show the technical characteristics of standardised materials.

### Specifications of Tools and Methods and/or Plants and Methods

Theses are part of the Company's quality system and may contain the operating principles and/or technical characteristics of standardised equipment or instrumentation.

### Technical Notes

These are part of the Company's quality system and indicate for:

- the Materials:

- Any additions to the reference Material Tables.

- The technical characteristics of standardised materials.

- the Equipment:

- Any additions to the Tools and Methods specifications.

- The Operating principles and characteristics of standardised equipment.

- the Instrumentation:

- Any additions to the Tools and Methods specifications.

- Operating principles and characteristics of standardised equipment.

# GENERAL REGULATORY REQUIREMENTS

The minimum technical requirements required by Italgas Reti based on the reference Legislative and Technical Standards for the products described are indicated in the following points.

## Technical assessment

In relation to Legislative Decree 81/08, Italgas Reti reserves the right, in its evaluation of the use of the proposed products, to consider the operational consequences deriving from the conditions of use of the equipment as indicated by the Supplier in the "Instruction Manual” where necessary.

# PRODUCT CHARACTERISTICS AND REFERENCE STANDARDS

## Product design

When designing the product, the requirements of current legislation must be taken into account, with particular reference, in the cases provided for therein, to:

- Law no. 186 of 1 March 1968;

- Law no. 1083 of 6 December 1971 as subsequently amended and supplemented;

- Legislative Decree no. 86 of 19 May 2016 (Low Voltage Directive);

- Regulation (EU) no. 305/2011 of the European Parliament and of the Council of 9 March 2011 (CPR);

- Legislative Decree no. 194 of 6 November 2007 as amended (EMC Directive);

- Legislative Decree no. 85 of 19 May 2016 (ATEX 1 Directive);

- Legislative Decree No. 93 of 25 February 2000 as subsequently amended and supplemented (PED Directive);

- Legislative Decree no. 233 of 12 June 2003 (ATEX 2 Directive);

- Legislative Decree No. 81 of 9 April 2008 as subsequently amended and supplemented;

- Decree of 16 April 2008;

- Decree of 17 April 2008;

- Resolution of 7 August 2008 - ARG/gas 120/08.

The above list may not be exhaustive for the design of some products, consequently, with regard to the requirements in the appendices to this Technical Specification, it is the Manufacturer’s responsibility to apply all current legislative provisions regarding the functional characteristics of its proposed products.

## Technical characteristics

The annexes contain the minimum technical requirements required by Italgas Reti.

## Machining tolerances for mechanical products

- The system of tolerances and fits envisaged, except where design and processing requirements require specific tolerances or other reference standards, shall comply with UNI EN ISO 286 part 1 and 2; UNI EN 22768 part 1 and 2, or equivalent.

# TYPE TEST

- In the design phase of the product, the "Type Tests" required by the Reference Standards and/or the Supplier's design standards must have been carried out to verify the intended end use of the product.

# MARKING

All products must be legibly and indelibly marked with the markings specified by the:

- Annexes to this technical specification;

- Relevant reference standards applied;

- Applied EU Product Directives (if the same products are covered by more than one Product Directive, the markings must be integrated);

In the absence of indications, all products must be marked, legibly and indelibly, with at least:

- The Manufacturer’s name or logo;

- ND in the case of pipes or special parts for pipes;

- Other specific technical identification data.

# DOCUMENTATION REQUIRED FROM THE SUPPLIER

## Supplier

- The potential Supplier must be qualified as an ITALGAS Supplier.

## Documents to be submitted

For all kinds of product, the potential Supplier must submit the "Declaration of Conformity" to the PROMA-CMMAT Company Department in accordance with the UNI CEI EN ISO/IEC 17050-1 standard (see the example in Appendix 1 of this Technical Specification) relating to:

- this Technical Specification ,

- the Italgas Reti documents defined in point 3.1 and attached to this Technical Specification. ,

- any further specific documents (legislative provisions, applied standards, etc.) to which the Supplier refers for the design and construction of its products;

### Materials - Complementary Documentation

The prospective Supplier must also submit the relevant complementary documentation required by the applicable legislation for the material in question (Figure 1 shows a guideline).

Figure 1 - Flow chart for complementary documentation

### Equipment / Instrumentation - Complementary Documentation

The prospective Supplier, with regard to the equipment or instrumentation, must also submit the relevant documentation required by the applicable legislation (Figure 2 shows a guideline).

Figure 2 - Flow chart for complementary documentation

## Test Documentation

For all product types, the Supplier must issue a “type 3.1” Inspection Certificate in accordance with UNI EN 10204, which states that the products provided are compliant with the requirements of this Specification and which provides the test results.

Registration of the full production/test documentation completed by the Supplier must be kept (on the basis of legal provisions) for 10 years under its responsibility, and must be made available whenever requested by the Client.

## Supply Documentation

Documents compliant with Legislative Decree no. 286 of 21 November 2005, as amended.

# TESTS AND INSPECTIONS

Italgas Reti reserves the right:

- To be present with its own Inspectors and/or Inspection Companies appointed by the same to carry out tests/checks c/o your plant and at your care and expense, to check the constructive and functional compliance of the materials in accordance with the specifications and/or reference standards.

- To verify, upon receipt and/or under actual conditions of use, the perfect compliance of the goods with the functional technical characteristics expressly indicated in the Contract.

It is understood that the favourable outcome of our inspection and checking of the materials shall not release you in any way from the responsibilities and obligations arising from each individual contract.

## Right of the client

It is Italgas Reti's right, for each purchase order, to request from the Supplier:

- Further technical and/or graphic documentation,

- additional laboratory and/or field tests,

in order to verify the conformity of the proposed products with this technical specification and the cited standards to which reference is made.

# CONDITIONS OF SUPPLY

## Packaging

The Supplier must guarantee suitable packaging for the conservation and integrity of the goods as well as for their safety during all handling and storage phases.

The materials used for packaging (pallets, crates, boxes, stretch film, corners, etc.) must comply with the relevant UNI/ISO standards, must not be harmful to workers' health or the environment, and must be suitable for disposal in the conventional separate waste collection system.

### Loading Unit Dimensions

Except in special cases defined in specific Technical Specifications and/or Contracts, materials must be delivered in standardised Loading Units (LUs).

The Loading Unit (LU) on the pallet must comply with the standardised dimensions "800 mm x 1200 mm x Hmax 1100 mm".

Deliveries of material in boxes not on pallets for weights of 15 kg or less with suitable handles or recesses are permitted.

Deliveries of material in wooden crates of the standard size or smaller are permitted as long as they allow loading/unloading using a forklift truck.

## Material identification

The material supplied must be identified in strict accordance with the definitions and codes set out in the Technical Specifications and in the Contracts concluded with Suppliers. The definition and code stated in the Transport Document and the relevant invoices must therefore at least mention the correspondence of the Supplier and Client definition / code.

The definition / code and quantity of the material as described above must be shown on the outside of the Loading Unit and, if the LU contains different items, each secondary packaging (e.g. box) must show the specific definition / code of the material contained in it.

# REFERENCE STANDARDS

- Law no. 186 of 1 March 1968 - "Provisions concerning the production of materials, equipment, machinery, electrical and electronic installations and systems";

- Legislative Decree No. 1083 of 6 December 1971 as subsequently amended and supplemented - "Standards for the safe use of combustible gas";

- Legislative Decree no. 86 of 19 May 2016 - "Implementation of Directive 2014/35/EU on the harmonisation of the laws of Member States relating to the making available on the market of electrical equipment designed for use within certain voltage limits";

- Regulation (EU) no. 305/2011 of the European Parliament and of the Council of 9 March 2011 laying down harmonised conditions for the marketing of construction products and repealing Council Directive 89/106/EEC;

- Presidential Decree no. 246 of 21 April 1993 - "Regulation implementing Directive 89/106/EEC on construction products";

- Legislative Decree no. 194 of 6 November 2007 - "Implementation of Directive 2004/108/EC on electromagnetic compatibility, and Directive 2014/30/EU of 26 February 2014 on the harmonisation of the laws of the Member States relating to electromagnetic compatibility (recast) providing for its repeal";

- Legislative Decree no. 85 of 19 May 2016 - "Implementation of Directive 2014/34/EU on the harmonisation of the laws of the Member States relating to equipment and protective systems intended for use in potentially explosive atmospheres";

- Legislative Decree No. 93 of 25 February 2000 as subsequently amended and supplemented - "Implementation of Directive 97/23/EC on pressure equipment and Directive 2014/68/EU on the harmonisation of the laws of the Member States relating to the making available on the market of pressure equipment (recast), providing for its repeal";

- Legislative Decree No. 286 of 21 November 2005 as subsequently amended and supplemented - “Provisions for the regulatory reorganisation of the regulated liberalisation of the road haulage business”;

- Legislative Decree No. 81 of 09 April 2008 as subsequently amended and supplemented - “Implementation of Article 1 of Law no. 123 of 3 August 2007 on the protection of health and safety in the workplace”;

- Decree of 16 April 2008 - “Technical regulations for the design, construction, testing, operation and supervision of works and distribution systems and direct lines for natural gas with a density not exceeding 0.8”;

- Decree of 17 April 2008 - “Technical regulations for the design, construction, testing, operation and supervision of works and plants for the transmission of natural gas with a density not exceeding 0.8”;

- Resolution ARG/gas 120/08 of 7 August 2008 - “Consolidated Code on the regulation of the quality and tariffs of gas distribution and metering services for the regulatory period 2009-2012 (TUDG): approval of Part I “Regulation of the quality of gas distribution and metering services for the regulatory period 2009-2012 (RQDG)”;

- UNI CEI EN ISO/IEC 17050-1 - "Conformity assessment - Supplier's declaration of conformity - Part 1: General requirements”;

- UNI EN 10204 - “Metallic products - Types of inspection documents”;

- UNI EN ISO 286-1 - "Geometrical product specifications (GPS) - ISO code system for tolerances on linear sizes - Part 1: Basis of tolerances, deviations and fits";

- UNI EN ISO 286-2 - "Geometrical product specifications (GPS) - ISO code system for tolerances on linear sizes - Part 2: Tables of standard tolerance classes and limit deviations for holes and shafts";

- UNI EN ISO 22768-1 - "General tolerances. Tolerances for linear and angular dimensions without individual tolerance indications";

- UNI EN ISO 22768-2 - "General tolerances. Geometrical tolerances for features without individual tolerance indications";

- Legislative Decree No. 206 of 6 September 2005 as subsequently amended and supplemented. - “Consumer code pursuant to Article 7 of Law no. 229 of 29 July 2003”;

- ALL SPECIFIC STANDARDS REFERRED TO IN THE ANNEXES OR IN THE RELEVANT LEGISLATION.

# APPENDICES

- APPENDIX 1 -	“Sample declaration of conformity with this technical specification”

- APPENDIX 2 – “Sample declaration of exclusion from Directive 2014/34/EU”

- APPENDIX 3 – “Sample declaration of SOUND ENGINEERING PRACTICE (SEP)”

## APPENDIX 1

Supplier's Declaration of Conformity

(in accordance with the UNI CEI EN lSO/IEC 17050-1 standard)

(1) No. ............................................................................................................................................................................................................

(2)	Name of the issuer: ..............................................................................................................................................................................

Address of the issuer: .........................................................................................................................................................................

(3)	Subject of the declaration: ...................................................................................................................................................................

(4)	The following products manufactured by us:

| Our material code (5) | Italgas Reti material code (6) |
| --- | --- |
| xxx | xxx |
| xxx | xxx |

The subject of the above declaration complies with the requirements of the following documents:

Document nos.	Title									Edition/Date of issue

(7)	S.T.V.F.C. 0000300		COMPLEMENTARY TECHNICAL PROVISIONS			Edition 2 of 15/06/2017

FOR APPROVAL OF PRODUCTS FOR COMPANY USE

Additional information:

(8)	............................................................................................................................................................................................................

............................................................................................................................................................................................................

Signed for and on behalf of:

........................................................

(Place and date of issue)

(9) 	.......................................................				...............................................................................................

(Name and position) 						(Signature or equivalent mark authorised by the issuer)

KEY:

- The Declaration must be issued on headed paper or, if visible, on applied stamps and be uniquely identified (e.g. by a log number).

- The person issuing the Declaration (Supplier) must be unequivocally specified.

- The “subject” must be unambiguously described so that the declaration of conformity can be referred to the subject in question.

- List all the products for which company use authorisation is being requested (name, type, model).

- For each individual product supplied, state the material code used by the Supplier.

- For each individual product supplied, please quote the material code assigned by Italgas Reti, which can be found in the Italgas Reti reference documents. If there are none, please contact SERTEC-NORM.

- Include references to the Italgas Reti documents for the proposed products.

- Indicate any deviations from the reference documentation and any other information deemed useful by the Supplier for product evaluation purposes (see note 6) of appendix A of UNI CEI EN ISO/IEC 17050-1).

- Include the handwritten signature of the person authorised to issue the Declaration, stating their full Name, Surname and Position within the Organisation.

## APPENDIX 2

ATEX Exclusion Declaration

We ......................................................................................................................

(name of organisation)

with registered office in .............................................................................................................

(address)

as the ……………….…………………………….…………………………………..……………

(Manufacturer / Authorised Representative)

declare under our sole responsibility that the products series

.....................................................................................................................................................................

.....................................................................................................................................................................

(name, type or model, batch, group or serial numbers)

described in the Technical Specification / document(s)

………………………………………………………...….………………………………….…………..

…………………………………………………………………………………………….…………...…

(when necessary)

to which this declaration refers, comply with the following legislative / regulatory document(s)

…………………………………………………………………………………………….…………...…

……………………………………………………………………….……….…………………………..

(title(s) and/or number(s) and date(s) of publication of the standard(s) or other legislative and/or regulatory document(s))

and, according to Article 1, subsection 1a) of Directive 2014/34/EU of 26 February 2014 (Legislative Decree no. 85 of 19 May 2016) and Chapter 1 of ATEX 2014/34/EU GUIDELINES (first edition), based on an ATEX analysis (see paragraph 32 of the aforementioned ATEX 2014/34/EU GUIDELINES), do not fall within the scope of the Directive 2014/34/EU, as they do not risk causing an explosion due to the lack of potential ignition sources as defined in Standard UNI EN 1127-1, when used in systems that comply with the following legislative and/or regulatory documents

…………………………………………………………………………………………….…………...…

…………………………………………………………………………………………….…………...…

…………………………………………..………………….…………………………………………….

(title and/or number and date of publication of legislative and/or regulatory documents)

They can therefore be installed in all types of zones as defined in Legislative Decree no. 81 of 9 April 2008, as amended, Title XI (Directive 1999/92/EC of 16 December 1999).

..................................................................		..................................................................................................................................

(place and date of issue)				(name and signature or equivalent stamp of authorised person)

## APPENDIX 3

Declaration of compliance with Article 3, subsection 3 of Legislative Decree no. 93

(SEP Declaration)

We ......................................................................................................................

(name of organisation)

with registered office in .............................................................................................................

(address)

as the ……………….…………………………….…………………………………..……………

(Manufacturer / Authorised Representative)

declare that, following the analysis carried out in accordance with Legislative Decree no. 93 of 25 February 2000 as amended (Directive 2014/68/EU), product series:

…………………..………..……………………………………………………………………………….

…………………..………..……………………………………………………………………………….

(name, type or model, batch, group or serial number)

described in the document:

…………………..………..……………………………………………………………………………….

…………………..………..……………………………………………………………………………….

(title and/or number and date of publication of the Standard(s) or other regulatory document(s)).

to which this declaration refers, fall under Article 3, subsection 3 of Legislative Decree no. 93 of 25 February 2000 as amended, and are therefore subject to the provisions thereof. Consequently, the products mentioned are not subject to CE marking for the application of Legislative Decree no. 93 of 25 February 2000 as amended.

Supplier means the party responsible for the design and construction of the products or its legal representative as defined in Legislative Decree no. 206 of 6 September 2005 as amended and supplemented. - “Consumer code pursuant to Article 7 of Law no. 229 of 29 July 2003”.

SOUND ENGINEERING PRACTICE